**Annexure - VII**

**SCHEDULE OF RATES (PRICE BID)**

***(Only RATE in words and figures. Amount in figures)***

(RF=Refilling, HPT=Hydraulic Pressure Test)

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr.no** | Item | **Unit** | **Qty** | **RF (Rate)** | **HPT (Rate)** | **Total rate** | **Total (Rs)** |
| **a** | **b** | **c** | **d** | **e** | **f** | **g=(e+f)** | **h=(gxd)** |
| **A** | Providing service for annual maintence and refilling including reconditioning, painting, HPT, required replacement of all type of spare parts associated with the fire extinguishers. All FE to be maintained during the warranty and after warranty , as per details specified in A-1& A-2 of Annexure -VI till the due date .  (Note : \*All the above stated requirement to be considered while quoting cost per cylinder. Spare parts will not be paid separately.) |  |  |  |  |  |  |
| 1 | CO2 Type -2 kgs | Nos | 2 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 2 | CO2 Type -3.2 kgs | Nos | 6 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 3 | CO2 Type-5.2 kgs | Nos | 3 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 4 | CO2 Type- 4.5 kgs | Nos | 17 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 5 | CO2 Type -9 Kgs | Nos | 12 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 6 | A.B.C dry powder CO2 Type- 5kgs | Nos | 1 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 7 | A.B.C dry powder- 2 kgs | Nos | 37 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 8 | AFFF- 9 ltrs | Nos | 8 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 9 | Dry Chemical powder, 5 kgs | Nos | 8 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 10 | Dry chemical powder type , 6 kgs | Nos | 5 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 11 | Storred pressure Type ABC-6 KG | Nos | 16 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 12 | Dry chemical powder -25 kgs | Nos | 1 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 13 | MechanicalFoam (AFFF) Type - 50 Ltr. | Nos | 1 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 14 | Inverted type form Type- 9 ltrs | Nos | 1 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 15 | ABC Dry Powder stored pressure type-12KG | Nos | 2 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 16 | B.C-3.2 kg | Nos | 7 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 17 | B.C CO2 Type -22.5 kgs | Nos | 1 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 18 | Water Fire Type Abc -9 ltr. | Nos | 13 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 19 | BC dry chemical - 5kgs | Nos | 2 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
| 20 | BC-Carbon Dioxide Type-4.5kgs | Nos | 13 |  |  |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
|  | **Sub Total A** | | | | | |  |
| **B** | Providing maintenance service under comprehensive annual maintenance contract for Fire Hydrant system installed at NCAOR campus. (Details as specified in B of Annexure-VI) | Nos | 1 | - | - |  |  |
|  | ***Only RATE in words:*** |  |  |  |  |  |  |
|  | **Sub Total B** | | | | | |  |
| **P** | **Sub Total(A+B)** | | | | | |  |
| **Q** | GST @... ……% on A | | | | | |  |
| **R** | GST @... ……% on B | | | | | |  |
| **S** | **Grand Total (P+Q+R)** | | | | | |  |

***\*all pages of price bid should be signed & stamped.***

(s) Grand Total: Rs. \_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Grand Total in words: Rs.\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Discount offered if any, should be included in the quoted rates & should not be shown separately.
2. Bidders should quote all items given in the price bid. If all items are not quoted then the bid will be considered as incomplete bid and will be rejected outright.
3. Price Evaluation Criteria - The Lowest Evaluated Bidder (L1) would be arrived from the Grand Total (s) above.

**DECLARATION**

1) We have read and understood the terms & conditions of the above mentioned tender and comply to all Terms & Conditions of your Tender. (In case of any deviation the Bidder must attach a separate sheet clearly mentioning the Clause No. of the Tender and Deviation thereto)

2) We certify that the information mentioned above are true and correct to best of our knowledge.

3) In case of receipt of Work Order, we assure that the entire work will be satisfactorily completed within the stipulated time.

4) We agree to accept payment through e-Banking / Electronics Transfer.

Place: Signature of Authorised Signatory :

Date: Name:

Designation:

Seal: